## Sheet1
fault | Year | LDCurve | Hour | Meter | "kWh" | "kvarh" | "Max kW" | "Max kVA" | "Zone kWh" | "Zone kvarh" | "Zone Max kW" | "Zone Max kVA" | "Overload kWh Normal" | "Overload kWh Emerg" | "Load EEN" | "Load UE" | "Zone Losses kWh" | "Zone Losses kvarh" | "Zone Max kW Losses" | "Zone Max kvar Losses" | "Load Losses kWh" | "Load Losses kvarh" | "No Load Losses kWh" | "No Load Losses kvarh" | "Max kW Load Losses" | "Max kW No Load Losses" | "Line Losses" | "Transformer Losses" | "Line Mode Line Losses" | "Zero Mode Line Losses" | "3-phase Line Losses" | "1- and 2-phase Line Losses" | "Gen kWh" | "Gen kvarh" | "Gen Max kW" | "Gen Max kVA" | "4.8 kV Losses" | "Aux1" | "Aux6" | "Aux11" | "Aux16" | "Aux21" | "Aux26" | "4.8 kV Line Loss" | "Aux2" | "Aux7" | "Aux12" | "Aux17" | "Aux22" | "Aux27" | "4.8 kV Load Loss" | "Aux3" | "Aux8" | "Aux13" | "Aux18" | "Aux23" | "Aux28" | "4.8 kV No Load Loss" | "Aux4" | "Aux9" | "Aux14" | "Aux19" | "Aux24" | "Aux29" | "4.8 kV Load Energy" | "Aux5" | "Aux10" | "Aux15" | "Aux20" | "Aux25" | "Aux30" | source_file
SEM_FALTA | 0 |  | 0 | "L12_METER" | 42 | 21 | 42 | 47 | 42 | 21 | 42 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | EXP_MTR_L12_METER.CSV
SEM_FALTA | 0 |  | 0 | "L13_METER" | 160 | 79 | 160 | 179 | 160 | 79 | 160 | 179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | EXP_MTR_L13_METER.CSV
SEM_FALTA | 0 |  | 0 | "L23_METER" | 82 | 38 | 82 | 90 | 82 | 38 | 82 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | EXP_MTR_L23_METER.CSV
SEM_FALTA | 0 |  | 0 | "L5_METER" | 251 | 125 | 251 | 281 | 251 | 125 | 251 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 251 | 0 | 0 | 0 | 0 | 0 | 0 | EXP_MTR_L5_METER.CSV
SEM_FALTA | 0 |  | 0 | "L8_METER" | 331 | 161 | 331 | 368 | 127 | 61 | 127 | 141 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127 | 0 | 0 | 0 | 0 | 0 | 0 | EXP_MTR_L8_METER.CSV